## Slide 1: [ 5th week Report ]
Lecturer: Hel Chanthan
By: Nhim ChanRengSey
2019-2020
Researching Project
“ Soil Ph meter Design ”

## Slide 2: Outline
Operational amplifier Summary:
    Inverting Op-Amp
    Non-Inverting Op-Amp
    Summing amplifier
    Differential amplifier
    Op-amp as Integrator
    Op-amp as Differentiator
Next step of project:
    choosing Sensor and LCD
    Design PCB
    Testing hardware
    Learn STM32 coding
    Drawing Case for hardware
Missing and difficulty

## Slide 3: Operational Amplifier Summary
OP-AMP can be ideal amplifier with infinite Gain and Bandwidth when used in the open-loop mode with typical DC gain of well over 100dB or 100,000.
The basic of OP-AMP construction is of a 3 terminal device, with 2-inputs and 1-output.
OP-AMP operate from either a dual positive (Vs+) and a corresponding negative(Vs-)supply, and they can operate from a single DC supply voltage.
The two main laws associated with the operational amplifier are that it has an infinite input impedance(Z=resulting in “No current flowing into either of its two inputs” and zero input offset voltage V+ = V-.
OP-AMP also has zero output impedance, ( Z = 0 ).
Op-amps sense the difference between the voltage signals applied to their two input terminals and then multiply it by some pre-determined Gain, ( A ).
This Gain, ( A ) is often referred to as the amplifiers “Open-loop Gain”.
Op-amps can be connected into two basic configurations, Inverting and Non-inverting.
Page: 01
Input
Output
Non-Inverting terminal
Inverting terminal

## Slide 4: Operational Amplifier Summary
Page: 02

## Slide 5: Operational Amplifier Summary
Page: 03

## Slide 6: Operational Amplifier Summary
Differential and summing amplifier
Page: 04

## Slide 7: Operational Amplifier Summary
Page: 05

## Slide 8: Next step of Project
    Choosing Sensor and LCD:
      Search company that produce PH meter
      Search model of sensor
      Read datasheet or spec of sensor
      Search website for buy that sensor
https://www.arrow.com/
https://www.digikey.com/
https://www.mouser.com/
Page: 06

## Slide 9: Next step of Project
    Design PCB:
      Use KiCad for design PCB
      Design an Amplifier and a filter Circuit
    Testing Hardware:
      After finish of design PCB already we must test it in oscilloscope to make sure it work clearly or not.
    Learn STM32 code:
      Use STM32CubeIDE 1.3.0
      Learn how to use ADC of STM32
      Learn how to use Display with STM32
      Integrate code in STM32
    Assemble and Install STM32 with Circuit on PCB:
      Testing STM32 with sensor and LCD
    Drawing and print case for hardware:
      Use Fusion 360 for draw case.
      Use 3D printer for print.
Page: 07

## Slide 10: Difficulty and Missing
Difficulty :
  Hard to research about PH sensor.
Missing:
  Lately work
Page: 08

## Slide 11: Planning for 2nd month
Start : 06/09/2020
Week | Monday | Tuesday | Wednesday | Thursday | Friday | Goal
5th Week | Build Filter pH & LCD | Meeting Build Filter | Filter Build filter | Presentation Build Amp | Build Amplifier | Design Amplifier
6th Week | Build Amplifier | Meeting Learn stm32 | Learn STM32 Test LCD/pH | Presentation Write Code | Write Code STM32 | Start STM32
7th Week | Write Code STM32 | Meeting Write Code | Write Code STM32 | Presentation Write code | Finish STM32 Code | Finish STM32 Code
8th Week | Draw case for hardware | Meeting Draw case | Draw case for hardware | Presentation Draw case | Print 3D case | Build case Finish Job
Page: 09

## Slide 12: THANK YOU